Taking care of your Hybrid floor:

Regularly sweep the floor to remove loose dirt or grit as these can cause fine scratches.

For a thorough clean, use a pH neutral cleaner. Avoid the use of regular household cleaners and bleach based detergents. These could make the floor slippery or cause discolouration.

Always mop up spills as soon as possible, to reduce the risk of slipping and possible staining.

Use entrance mats to protect against grit and moisture. Ensure they are of non-staining variety (not rubber-backed) to prevent any discoloration of the floor.

Avoid sliding or dragging furniture or other objects across the floor - use floor protector pads to prevent scratching.

Use castor cups to protect against indentation from heavy furniture.

Maintain room temperature between 64-81°F (18-27°C) for optimum performance.

Do not subject this product to standing water as this will present a slip hazard.